## Slide 1: Data Path Redundancy
Chris Bruton and Glenn Biasi
Southern California Seismic Network

## Slide 2: Outline
Redundancy, what and why? – 3 min
Topologies in redundant telemetry – 5 min
Case studies, SCSN (Chris Bruton, SCSN) – 15 min
Quick-look summaries, other ANSS networks 2-3 min ea
  Utah, Alaska, ... your network here!
Discussion
Feedback

## Slide 3: Redundancy, what and why?
Telemetry Redundancy: Provisioned path alternatives for seismic network traffic.
Why? So data can continue flowing around a failed or non-performing component.
Applications
  Day-to-day: continuity through “ordinary” failures
  Better maintenance options – scheduled repair vs. emergency/after-hours
  Operational continuity, esp. in/after shaking

## Slide 4: Redundancy: Magic and Fool’s Gold
Reliability and down-time:
  99% -> 87.6 hrs (~3.6 days)/yr
  99.9% - 8.76 hrs/yr
  99.99% - 53 min/yr
  99.999% - really?
Two independent 99% systems: magic -> 0.9999 availability 
Two dependent 99% systems: fool’s gold -> 0.99 availability 
Design and components matter

## Slide 5: Data Path Redundancy
At the station
  radio-cell combinations
  cell-cell dual provider
From Hubs
  data volume can justify redundant connection
  cell backup
Microwave backbone
  Main strategy: loop
  Exploring fiber drop for loopback
Parallel and redundant data acquisition and processing

## Slide 6: Radio-USGS Microwave (SCSN)
Datalogger
router
USGS Microwave
router
others
Acquisition computer
IP Radio
IP Radio
IP Radio Pair to Op’ns Center
T-1 Alternate
Cell modem
Carrier
Acquisition computer
3rd-party, opaque
EW Ring
Redundant from the station
Redundant backhaul element
router
Amazon Cloud Acquisition and Processing
variant: Parallel acquisition and processing

## Slide 7: Case Studies
Desert Loop
U.S.G.S. Microwave, Southern California
Recent outage examined

## Slide 8: USGS Microwave

## Slide 9: USGS Microwave South
Pasadena South Mudd
Pleasants Pk
Strawberry Pk
Shadow Mtn
Edwards AFB
T1
SSS
PDW
BAC
TA2
LPC
CFT
HOL
JNH2
HYS
EDW2
CJV2
FOX2
THC
HDH
MPI
MPP
Pasadena 525 S Wilson
Fiber
Data flow direction
Idle backup path

## Slide 10: USGS Microwave South
Pasadena South Mudd
Pleasants Pk
Strawberry Pk
Shadow Mtn
Edwards AFB
SSS
PDW
BAC
TA2
LPC
CFT
HOL
JNH2
HYS
EDW2
CJV2
FOX2
THC
HDH
MPI
MPP
Pasadena 525 S Wilson
Fiber
T1
Data flow direction
Data flow direction

## Slide 11: USGS Microwave South
Pasadena South Mudd
Pleasants Pk
Strawberry Pk
Shadow Mtn
Edwards AFB
T1
SSS
PDW
BAC
TA2
LPC
CFT
HOL
JNH2
HYS
EDW2
CJV2
FOX2
THC
HDH
MPI
MPP
Pasadena 525 S Wilson
Fiber
Data flow direction
Idle backup path

## Slide 12: USGS Microwave South
Pasadena South Mudd
Pleasants Pk
Strawberry Pk
Shadow Mtn
Edwards AFB
T1
SSS
PDW
BAC
TA2
LPC
CFT
HOL
JNH2
HYS
EDW2
CJV2
FOX2
THC
HDH
MPI
MPP
Pasadena 525 S Wilson
Fiber
Data flow direction

## Slide 13: USGS Microwave South
Pasadena South Mudd
Pleasants Pk
Strawberry Pk
Shadow Mtn
Edwards AFB
T1
SSS
PDW
BAC
TA2
LPC
CFT
HOL
JNH2
HYS
EDW2
CJV2
FOX2
THC
HDH
MPI
MPP
Pasadena 525 S Wilson
Fiber
No path to Pasadena

## Slide 14: USGS Microwave South
Pasadena South Mudd
Pleasants Pk
Strawberry Pk
Shadow Mtn
Edwards AFB
SSS
PDW
BAC
TA2
LPC
CFT
HOL
JNH2
HYS
EDW2
CJV2
FOX2
THC
HDH
MPI
MPP
Pasadena 525 S Wilson
Fiber
Cal OES PSC MPLS
T1
Data flow direction
Data flow direction

## Slide 15: USGS Microwave South
Pasadena South Mudd
Pleasants Pk
Strawberry Pk
Shadow Mtn
Edwards AFB
T1
SSS
PDW
BAC
TA2
LPC
CFT
HOL
JNH2
HYS
EDW2
CJV2
FOX2
THC
HDH
MPI
MPP
Pasadena 525 S Wilson
Fiber
Load balanced flow
Idle backup path
Cal OES PSC MPLS
Load balanced flow
Data flow direction

## Slide 16: Desert Loop
Private radio links between hubs in a geographic area
Allows stations to share Internet and T1 access
Many redundant paths – even multiple failures will not bring stations down
Routers use OSPF dynamic routing to determine the best path
XPDT T1
XSSW T1
Map:
https://anss-sis.scsn.org/sis/sites/telconn/?operatorids=24

## Slide 17
XCVW CI.THM CI.THMG CI.TOR NP.5444
XPDT CI.PMD CI.COTD CI.WWC CI.WWMT CI.WIDC CI.SNO CI.SNOG CI.MSC CI.MSCG
XCTC CI.CACT CI.CTC CI.IDO CI.IDOG CI.IDQ CI.IDQG CI.SLB
XBOM Planned: CI.BOM CI.BOMG CI.SAL NP.5271
XSSW CI.ERR CI.ERRG CI.RXH
XFSH CI.WMD CI.WMDG CI.IMP CI.CRR CI.COK2 CI.COKG CI.DRE
CI.YUH2 CI.YUHG CI.SGL CI.SGLG CI.SWS CI.FSHB
XPDT T1
XSSW T1
XPDT T1
XSSW T1
Desert Loop Network 36 active stations 4+ more planned

## Slide 18: Network Dialog
Examples from other networks
  Alaska
  Oregon
  Utah and Others

## Slide 19: Alaska Earthquake Center Data routing redundancy
Nate Murphy
NetOps 2021

## Slide 20: AWS backup routing and data acquisition system
Initial development began in summer, 2019.
Mikrotik CHR instance serves as the VPN endpoint for field network tunnels
  AWS t2.micro instance and single AWS elastic (public) IP
  Consistent tunnel configurations with Mikrotik RB750 field routers
  Prefer L2TP VPN tunnels
  Tunnels remain active, route priority settings on field routers determines data path.
Separate AWS instances host data acquisition, processing, and development VMs
Provides alternate routing options or full backup data acquisition
  UA Cisco ASA firewall occasionally blocks a subset of our field VPN connections -> backup route through AWS
  Full local server or network outage -> AWS backup acquisition system takes over

## Slide 21
AK.PPLA
AK.CAST
AK.KTH
AK.MCK
Denali Region Network
AK.CHUM
AK.TRF
HLY_R
DBL_R

## Slide 22
Future Improvements
Coordinate with cell and BGAN carriers to implement backup VPN tunnels direct to AWS
Develop automatic data acquisition failover
Expand AWS data storage and processing capabilities
Hurdles
Limited ISP options for most field networks
Remote site power and bandwidth constraints
Lack of available time, personnel

## Slide 23
Current Physical Topology of networks connected directly to UO via ISM bands:
5.8 GHz (green)
900 MHz (red)
50 km
Notes: - UO currently has very little redundancy
- Planning and testing is underway to split two larger networks into interconnected smaller, routed segments with multiple paths. Time, and expertise building have been limiting factors, but we are moving forward more quickly now.

## Slide 24: Logical topology of routed, multi-path network
Notes: We have near term plans to deploy routers and reconfigure network scheme on both networks directly connected to UofO. This will be the first step in a multi-phase project. Redundant pathways will be provided via microwave links between several tower sites forming a ring with two or more direct links to UO. Tertiary paths at many sites are available via ODOT's wireless network. Future segments will be added to the north and south to incorporate existing and new sites.

## Slide 25
Notes: Left: radio mast at UofO
Right: Seismic site Roman Nose in Oregon coast range.

## Slide 26: Network Dialog
Examples from other networks
  Alaska
  Oregon
  Utah and Others

## Slide 27: Discussion
Other examples or issues?
Questions:
  If redundancy is unused or under-used in your network, why is that?
  Plans/opportunities to increase it
  Challenges
Stay tuned for part 2, coming right up.

## Slide 28: Wrap-up and Messages
Closing thoughts
Messages to management
  Reliability costs money
    installation and equipment
    staffing to monitor and maintain
    recurring costs for second connections – cell, T1/fiber, etc.
  Staffing and special skills needed
Stay tuned for part 2, coming right up.